## 1 Month Cost H1 1200
SUB TRANSMISSION Rate
> 500 kW Average, Customer Transformer, Connected to 13.8kV Line or Greater - Rate Assumes Primary Metering
Sub Transmission Line Loss Factor |  | 3.4% |  | 7.03%
Monthly Peak |  | 1212 |  | 1200
Adjusted Peak |  | 1253.208 |  | 1284.36
Monthly Usage |  | 265428 |  | 262800
Adjusted Usage |  | 274452.552 |  | 281274.84
Line Item | ELK Secondary Metered | H1 Amount Billed | 2016 Rate | Quantity
Primary
Electricity | 2905.5691 | 2835.0949 | 0.01033 | 274452.552
Global Adjustment | 29064.598 | 28359.6396 | 0.10333 | 274452.552
Global Adjustment Rate Rider |  | -274.4526 | -0.001 | 274452.552
Delivery
Service Charge | 187.07 | 481.41 | 481.41 | 1
Meter Charge |  | 741.21 | 741.21 | 1
ELK Rate Rider | 628.4373
Rate Rider: Foregone Revenue |  | 47.56 | 47.56 | 1
Common ST - Distribution Volumetric | 1899.24 | 1422.888 | 1.174 | 1212
Rate Rider: Disposition of Variance General (Volumetric) |  | 381.9012 | 0.3151 | 1212
Rate Rider: Disposition of Variance Wholesale Market Service |  | -541.158 | -0.4465 | 1212
Transmission Network Service | 2850.637 | 4185.2134 | 3.3396 | 1253.208
Transmission Line Connection | 1940.668 | 976.3744 | 0.7791 | 1253.208
Transmission Transformation Connection |  | 2219.8073 | 1.7713 | 1253.208
Low Voltage | 556.3848
Regulatory
Wholesale Market Service | 1012.5894 | 988.0292 | 0.0036 | 274452.552
Rural & Remote Rate Protection | 365.6573 | 356.7883 | 0.0013 | 274452.552
Ontario Electricity Support Program | 309.4023 | 301.8978 | 0.0011 | 274452.552
Standard Supply Administration | 0.25 | 0.25 | 0.25 | 1
Debt Retirement | 1839.6 | 1857.996 | 0.007 | 265428
HST | 5662.8134 | 5764.2584 | 13%
TOTAL | 49222.9166 | 50104.708 | -881.7914 | -10581.4963 | Yearly Savings
www.ieso.ca
|  | 1st ($/MWh) | 2nd ($/MWh) | Actual Rate ($/MWh) | Average HOEP ($/MWh)*
Jan 2016 |  | 84.23 | 92.14 | 91.79 | 13.69
Feb |  | 103.84 | 96.78 | 98.51 | 12.56
Mar |  | 90.22 | 102.99 | 106.1 | 5.9
Apr |  | 121.15 | 111.77 | 111.32 | 6.11
May |  | 104.05 | 114.93 |  | 13.39
Jun |  | 116.5 | 116.5
|  | 103.3317 |  |  | 10.33
Year to Date $/kWh Average |  | 0.10333 | 0 |  | 0.01033